# Supplemental Material: Tables and Descriptions

Table 1. Performance Metric for private CT Datasets

| Model | Accuracy | Precision | Recall | F1 (Dice) | IoU |
| --- | --- | --- | --- | --- | --- |
| Mod-Seg-SE(2) [OURS] | 0,7446 | 0,8176 | 0,8928 | 0,8536 | 0,7446 |
| HarmonicNet (C4) | 0,7155 | 0,8853 | 0,7886 | 0,8342 | 0,7155 |
| nnU-Net | 0,6304 | 0,6325 | 0,9947 | 0,7733 | 0,6304 |
| Standard U-Net | 0,4456 | 0,7143 | 0,5423 | 0,6165 | 0,4456 |
| Attention U-Net | 0,3546 | 0,4869 | 0,5662 | 0,5236 | 0,3546 |
| TransUNet | 0,2031 | 0,2184 | 0,7441 | 0,3377 | 0,2031 |

Table 1. Performance Metric for private CTC Datasets

| Model | Accuracy | Precision | Recall | F1 (Dice) | IoU |
| --- | --- | --- | --- | --- | --- |
| Mod-Seg-SE(2) [OURS] | 0,9508 | 0,9628 | 0,9871 | 0,9748 | 0,9508 |
| HarmonicNet (C4) | 0,9221 | 0,9497 | 0,9694 | 0,9594 | 0,9221 |
| nnU-Net | 0,9078 | 0,9253 | 0,9796 | 0,9517 | 0,9078 |
| Standard U-Net | 0,8215 | 0,9008 | 0,9033 | 0,902 | 0,8215 |
| Attention U-Net | 0,8079 | 0,8785 | 0,9095 | 0,8937 | 0,8079 |
| TransUNet | 0,6828 | 0,7836 | 0,8415 | 0,8115 | 0,6828 |

Table 1. Brain Stroke CT Dataset (Multi domain train private , test public)

| Model | Accuracy | Precision | Recall | F1 (Dice) | IoU |
| --- | --- | --- | --- | --- | --- |
| Mod-Seg-SE(2) | 0,998128 | 0,238166 | 0,103743 | 0,144530 | 0,077894 |
| HarmonicNet | 0,997908 | 0,269822 | 0,217996 | 0,241156 | 0,137110 |
| nnU-Net | 0,964055 | 0,019914 | 0,468271 | 0,038203 | 0,019474 |
| Attention U-Net | 0,990285 | 0,105187 | 0,715644 | 0,183414 | 0,100967 |
| TransUNet | 0,981012 | 0,047830 | 0,605845 | 0,088660 | 0,046386 |
| Standard U-Net | 0,997005 | 0,244750 | 0,462566 | 0,320121 | 0,190562 |

Table 1. Brain Stroke CT Dataset (intra domain)

| Model | Accuracy | Precision | Recall | F1 (Dice) | IoU |
| --- | --- | --- | --- | --- | --- |
| Mod-Seg-SE(2) | 0,999633 | 0,810837 | 0,620364 | 0,702925 | 0,541931 |
| HarmonicNet | 0,999614 | 0,749191 | 0,673455 | 0,709307 | 0,549555 |
| nnU-Net | 0,999310 | 0,506040 | 0,548364 | 0,526353 | 0,357177 |
| Attention U-Net | 0,999567 | 0,703502 | 0,657455 | 0,679699 | 0,514806 |
| TransUNet | 0,999178 | 0,446563 | 0,732364 | 0,554821 | 0,383912 |
| Standard U-Net | 0,999605 | 0,784221 | 0,600000 | 0,679852 | 0,514981 |

Table 1. Brain CT Images with Intracranial Hemorrhage Masks (intra domain)

| Model | Accuracy | Precision | Recall | F1 (Dice) | IoU |
| --- | --- | --- | --- | --- | --- |
| Mod-Seg-SE(2) | 0,977767 | 0,833873 | 0,983525 | 0,902538 | 0,822386 |
| HarmonicNet | 0,975903 | 0,822705 | 0,981238 | 0,895006 | 0,809964 |
| nnU-Net | 0,965685 | 0,757176 | 0,989480 | 0,857879 | 0,751129 |
| Attention U-Net | 0,968546 | 0,775021 | 0,985600 | 0,867717 | 0,766343 |
| TransUNet | 0,969638 | 0,784536 | 0,978712 | 0,870932 | 0,771372 |
| Standard U-Net | 0,965749 | 0,757852 | 0,988668 | 0,858008 | 0,751325 |

Tabel. CT KFOLD

| Model | Accuracy | Precision | Recall | F1 (Dice) | IoU |
| --- | --- | --- | --- | --- | --- |
| Mod-Seg-SE(2) | 0.9994 ± 0.0001 | 0.9186 ± 0.0119 | 0.9545 ± 0.0034 | 0.9362 ± 0.0064 | 0.8801 ± 0.0112 |
| HarmonicNet | 0.9987 ± 0.0001 | 0.8090 ± 0.0128 | 0.9605 ± 0.0060 | 0.8782 ± 0.0096 | 0.7830 ± 0.0152 |
| nnU-Net | 0.9978 ± 0.0003 | 0.6856 ± 0.0261 | 0.9813 ± 0.0160 | 0.8071 ± 0.0214 | 0.6770 ± 0.0300 |
| Standard U-Net | 0.9966 ± 0.0003 | 0.6304 ± 0.0395 | 0.6902 ± 0.0148 | 0.6584 ± 0.0236 | 0.4912 ± 0.0266 |
| Attention U-Net | 0.9969 ± 0.0005 | 0.6572 ± 0.0591 | 0.7260 ± 0.0454 | 0.6883 ± 0.0390 | 0.5259 ± 0.0455 |
| TransUNet | 0.9907 ± 0.0018 | 0.3148 ± 0.0389 | 0.7961 ± 0.1302 | 0.4474 ± 0.0385 | 0.2888 ± 0.0320 |

Tabel. CTC KFOLD

| Model | Accuracy | Precision | Recall | F1 (Dice) | IoU |
| --- | --- | --- | --- | --- | --- |
| Mod-Seg-SE(2) | 0.9999 ± 0.0000 | 0.9865 ± 0.0023 | 0.9953 ± 0.0044 | 0.9909 ± 0.0032 | 0.9819 ± 0.0063 |
| HarmonicNet | 0.9995 ± 0.0001 | 0.9174 ± 0.0111 | 0.9985 ± 0.0005 | 0.9562 ± 0.0059 | 0.9162 ± 0.0109 |
| nnU-Net | 0.9990 ± 0.0001 | 0.8485 ± 0.0109 | 0.9944 ± 0.0018 | 0.9156 ± 0.0066 | 0.8445 ± 0.0112 |
| Standard U-Net | 0.9990 ± 0.0002 | 0.8561 ± 0.0286 | 0.9671 ± 0.0190 | 0.9080 ± 0.0199 | 0.8320 ± 0.0335 |
| Attention U-Net | 0.9986 ± 0.0007 | 0.8215 ± 0.0458 | 0.9440 ± 0.0992 | 0.8779 ± 0.0692 | 0.7874 ± 0.1024 |
| TransUNet | 0.9970 ± 0.0006 | 0.6640 ± 0.0451 | 0.8487 ± 0.0647 | 0.7449 ± 0.0514 | 0.5956 ± 0.0654 |

Table 1. Overview of MRI Datasets used for evaluation

| Dataset | Type | Train | Test |
| --- | --- | --- | --- |
| CT Brain Tumors (Private) | Segmentation | 476 | 85 |
| CTC Brain Tumors (Private) | Segmentation | 676 | 120 |
| Brain stroke CT Dataset | Segmentation | 171 | 30 |
| Brain CT Images with Intracranial Hemorrhage Masks | Segmentation | 4521 | 798 |

Table 1. Training Hyperparameters

| Parameter | Value | Justification |
| --- | --- | --- |
| Optimizer | Adam (Weight Decay = 1e-5) | Adaptive learning with L2 regularization to prevent overfitting |
| Learning rate | 0.0001 (1e-4) | Stable convergence for complex equivariant kernels |
| Batchsize | 32 (via Gradient Accumulation) | Balances GPU memory limits with optimal gradient estimation |
| Loss function | Focal + Dice + Edge Boundary Loss | Handles extreme class imbalance and sharpens tumor contours |
| Training duration | 150 epochs (Segmentation) | Optimal convergence point for the Mod-Seg-SE(2) architecture |

Table 1. Average inference time per image for each model

| Model Name | Parameters (M) | Inference (seconds/image) |
| --- | --- | --- |
| Mod-Seg-SE(2) | 23.53 M | 12 |
| VGG16 (FCN) | 134.27 M | 14 |
| VGG19 (FCN) | 139.58 M | 15 |
| ResNet50 (DeepLabV3) | 39.63 M | 4 |
| ResNet101 (FCN) | 51.94 M | 56 |

# Supplemental Material: Figures

Supplemental Figure 1

Supplemental Figure 2

Supplemental Figure 3

Supplemental Figure 4

Supplemental Figure 5

Supplemental Figure 6

Supplemental Figure 7

Supplemental Figure 8

Supplemental Figure 9

Supplemental Figure 10

Supplemental Figure 11

Supplemental Figure 12

Supplemental Figure 13

Supplemental Figure 14